SECTION 09 8413

TRANSPARENT MICRO-PERFORATED SOUND-ABSORBING FOIL SYSTEM (CLEARSORBER® FOIL)

PART 1 GENERAL

  - SECTION INCLUDES

- Transparent micro perforated sound absorbing foil system: Clearsorber® Foil

- Standard hardware/suspension system.

- Coordination with all trades having elements that attach to, penetrate through or are concealed behind/above the transparent foil systems of this section.

  - PRODUCTS INSTALLED BUT NOT SUPPLIED UNDER THIS SECTION

- Any custom mounting hardware or ceiling suspension system.

  - RELATED SECTIONS

A. Section 08 5000 - Windows

B. Section 08 6000 - Skylights

C. Section 08 8000 - Glazing & Curtain Wall

D. Section 09 8000 - Acoustical Treatment

  - ALTERNATES

- Prior Approval: Proposed substitutions for products in this section may be submitted to the architect and acoustical consultant no later than ten (10) working days prior to the bid due date. Substitutions shall only be considered if submitted with complete information, including acoustic data and one (1) sample not smaller than 8.5” x 11” showing product design, composition and finish. Acceptance of substituted products is contingent on the architect’s and acoustical consultant’s approval and the substitution’s compliance with all specified criteria. The architect shall approve the substitution request via addendum.

- Unapproved Substitutions.  Substitutions not approved via addendum shall not be submitted to the architect or acoustical consultant.

  - REFERENCES

- Local Building Code – Current Edition

- International Organization for Standardization

  - ISO 354 - Measurement of Sound Absorption in a Reverberation Room

  - ISO 10534 - Determination of sound absorption coefficient and impedance in

impedance tubes - Part 1: Method using standing wave ratio.

  - DIN EN ISO 13 468-1: Light Transmission

- American Society for Testing & Materials (ASTM)

  - ASTM E 1050-98 - Standard Test Method for Impedance and Absorption of Acoustical Materials Using a Tube, Two Microphones, and a Digital Frequency Analysis System

  - ASTM C 423 - Sound Absorption & Sound Absorption Coefficients by the Reverberation Room Method

  - ASTM E 84: Standard Test Method for Surface Burning Characteristics of Building Materials.

  - ASTM D 2843-99 Smoke Density Rating

  - ASTM D 635-98 Combustion Rating

  - ASTM D 1929-96 Self Ignition Temperature

  - ASTM E 795 - Standard Practice for Mounting Test Specimens during Sound Absorption Tests

  - ASTM E 1264 - Classification for Acoustical Ceiling Products

  - SYSTEM DESCRIPTION

- Design Requirements: Sound absorption shall be provided by viscous losses in the micro-perforations. As sound passes through these micro-perforations, sound absorption shall occur due to viscous boundary layer losses as long as an air cavity is provided between the sound-absorbing foil and a glass boundary or other hard surface. There is no need for additional porous material in the cavity behind the micro-perforated foil, thus allowing the foil system to be transparent, translucent or graphically printed. In addition to a single foil system layer, a dual layer is recommended for optimal absorption.

- Performance Requirements

  - Random Incidence, 1/3 Octave Band, Sound Absorption Coefficients (a): Tested by an independent, accredited facility according to ISO 354.  (Comparable Tests: ASTM 423).

| f (Hz) | Absorption Coefficients |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Single Layer, 1” Distance to Glass | Single Layer, 2” Distance to Glass | Single Layer, 4” Distance to Glass | Dual Layer, 1” between layers, 2” Distance to Glass | Dual Layer, 1” between layers, 4” Distance to Glass |
| 100 | .00 | .00 | .12 | .16 | .40 |
| 125 | .00 | .00 | .09 | .05 | .11 |
| 160 | .05 | .03 | .09 | .14 | .17 |
| 200 | .00 | .02 | .18 | .13 | .31 |
| 250 | .02 | .05 | .19 | .23 | .54 |
| 315 | .03 | .07 | .21 | .20 | .49 |
| 400 | .00 | .04 | .25 | .27 | .56 |
| 500 | .08 | .19 | .54 | .62 | .80 |
| 630 | .12 | .38 | .64 | .72 | .73 |
| 800 | .27 | .57 | .56 | .66 | .51 |
| 1000 | .35 | .64 | .44 | .55 | .42 |
| 1250 | .50 | .58 | .42 | .61 | .45 |
| 1600 | .55 | .47 | .28 | .61 | .51 |
| 2000 | .58 | .43 | .26 | .68 | .54 |
| 2500 | .51 | .35 | .35 | .60 | .58 |
| 3150 | .37 | .28 | .30 | .45 | .41 |
| 4000 | .22 | .24 | .20 | .29 | .26 |
| 5000 | .12 | .19 | .15 | .19 | .12 |
| NRC | 0.30 | 0.35 | 0.40 | 0.50 | 0.55 |

  - SUBMITTALS

- Product Data: Submit standard cut foil, including a basic system description, options and component sizes. Identify all applicable features and options. Cross out any inapplicable features or options.

- Shop Drawings: The contractor shall produce and submit shop drawings of products and suspension, or mounting systems overlaid on base drawings (interior elevations or reflected ceiling plans) supplied electronically by the architect. Show the overall layout with dimensions and references to details as necessary for installation near other materials or building components.  Submit a schedule of all quantities, sizes, and transparency. Field-verify site conditions with dimensions shown on shop drawings.

- Samples: Submit an 8-1/2” x 11” sample

- Design Data/Test Reports: Submit third-octave band sound absorption coefficient data according to ISO DIN EN 20 354, submit light transmission at 400-800 nm according to DIN EN ISO 13468-1 and fire rating according to ASTM E84-10A

  - QUALITY ASSURANCE

- Qualifications: The manufacturer and installation contractor shall have a minimum of three years of experience with similar systems.

- Single Source: All products under this section shall be supplied by a single manufacturer to ensure consistency in product size and finish.

- Flammability and Smoke Developed: Tested by an independent, accredited facility.

    - Polycarbonate	Test: ASTM E-84 Class A Fire Rated

FSI:  0

SDI:  95

- Light Transmission: 		           Test: ASTM D1003

Light transmission: 92%

Haze: 0.7%

- Yellowness Index: 		           Test: ASTM D1925 – 0.7%

- UV Stability:

  - Stable

- Tensile strength: 8800 PSI

- Weight: 1.1 oz/sf

- Pre-Installation Meeting: The installing contractor shall organize and conduct pre-installation meetings with all other trades to coordinate substrate conditions, conditioning of the space (temperature & humidity) and elements attaching near or concealed above/behind work in this section.

  - DELIVERY STORAGE AND HANDLING

- Shipping, Handling and Unloading: Deliver acoustical foil system to the project site in the manufacturer’s original, unopened packaging. Do not unpack or handle finished products until the project's environmental requirements have been met and the products are ready to be installed.

- Storage and Protection: Store all acoustical foil systems and associated pieces in a clean, dry, fully enclosed storage facility. Protect products from damage that may be caused by exposure to dust, chemicals, or impact damage.

- Acceptance at Site: Ensure that all project environmental requirements have been met prior to unpacking or installing the acoustical foil system or associated products. Full or partial installation constitutes complete product acceptance.

- Waste Management and Disposal: Dispose of all packaging materials and debris in a safe and environmentally responsible manner according to the instructions set forth by the General Contractor, local ordinances or codes and the Environmental Protection Agency.

  - PROJECT CONDITIONS

- Project Environmental Requirements: Prior to unpacking or installing, ensure the installation area is fully enclosed and environmentally controlled. Ensure that the building’s mechanical systems are fully operational and will not be turned off again, even for testing and balancing of the mechanical systems. Coordinate with other trades to ensure that all work above or behind plastic surfaces is complete and that all wet and dusty trades have completed work.

- Product Acclamation: For a minimum period of seventy-two (72) hours and prior to unpacking or installing any plastic products, allow both the installation area and the plastic products to stabilize in temperature and humidity levels that are representative of the final temperature and humidity levels expected after building completion and occupation.

- Product Handling: Handle the acoustical foil system carefully to avoid damaging

  - WARRANTY

- Submit to the Owner or Owner’s Representative a written and dated warranty issued by the acoustical foil system manufacturer warranting against defects in materials or manufacturing for a period of one (1) year from the date of delivery.

- Components used in the system but not provided by the manufacturer are excluded from the manufacturer’s warranty.

  - OWNER’S INSTRUCTIONS

A.	The installing contractor shall provide to the building owner or the owner’s representative a copy of the manufacturer’s maintenance manual supplied with the acoustical foil system.

  - MAINTENANCE

- Extra Materials: If provided by the project requirements, extra materials shall remain in the manufacturer’s original, unopened packaging and shall be given to the building owner or owner’s representative upon substantial completion of work.

PART 2 PRODUCTS

  - MANUFACTURER

A.	RPG Acoustical Systems, LLC, 99 South St, Passaic, NJ 07055 (telephone) 973-916-1166, http://www.rpgacoustic.com.

  - MATERIALS

- Foil system: Micro-perforated Polycarbonate foil with a thickness of 10mil (250 microns).

- Protection: The foil system shall be delivered protected in the original packaging.

  - MANUFACTURED UNITS

- Foil Dimensions: (consult the manufacturer for longer/custom sizes)

  - Full Roll:  4’ x 200’

  - Width:     Cut width 24” - 48”

  - Length:   Cut length is 20’ maximum depending on the installation method

- Mounting: Select from

    - DSG: D-ring, Spring, Grommet

    - DSH: D-ring, Spring, Hem Bar (Round)

    - PSG: Pin, Spring, Grommet

    - CSG: Connector, Spring, Grommet (Custom Canopy)

    - For operable systems, see Clearsorber GO

  - ACCESSORIES

- Metal mounting hardware and fasteners per above

- Aluminum rail for attachment points as needed

  - FABRICATION

- Shop Assembly: Standard foil systems have a natural edge, where holes are held 1” from the edge.

  - FINISHES

- Shop Finishing: No finish shall be applied to the foil system.  The foil system shall be clear/transparent.

  - SOURCE QUALITY CONTROL

- The manufacturing facility for foil systems shall be ISO 9001 certified, and certification documentation shall be provided upon request by the architect.

PART 3 EXECUTION

  - INSTALLERS

A.	Installing contractors shall have a minimum of five (5) years of successful experience installing acoustical systems in similar applications using similar mounting techniques or suspension systems.

  - EXAMINATION

- Site Verification of Conditions: Examine the installation area for compliance with all manufacturers’ project environmental requirements and ensure uninstalled products have been stored, handled and acclimatized properly prior to commencing installation. Inspect all substrates for completion and quality of work to ensure that surfaces are level, plumb, clean, dry and completely cured from water or solvent evaporation. Do not commence installation if the structural capacity of the substrate is questionable or inadequate.

- Coordination with Other Trades: Coordinate with all other trades to ensure that wet work, including concrete, terrazzo, plastering, painting, etc., in the installation area is complete, cured and dry prior to installation. Coordinate with all other trades to verify that components associated with mechanical, electrical, lighting, data, telecommunication, audio, video, fire suppression and other building systems are installed behind or above designated installation areas prior to commencing installation.

  - PREPARATION

- Protection: Protect all floor, wall and ceiling finishes against possible damage prior to commencing installation and during installation.

- Surface Preparation: When necessary, field measure substrates to acquire accurate dimensions of acoustical foil systems and submit final dimensions to the manufacturer.

  - INSTALLATION

- Install acoustical foil systems as shown and detailed in the architectural drawings and according to the manufacturer’s guidelines and industry standards.

  - CONSTRUCTION

- Interface with Other Work: Coordinate acoustical foil system installation with other trades, including glazing, skylights, windows, curtain walls, etc.

  - ADJUSTING

- Following the initial installation, adjust the mounting hardware or suspension system so that removable foil systems can be removed easily yet stay safely secured upon replacement. Adjust foil systems so that surfaces are aligned, flush and level or plumb and gaps between units are of a consistent width and straight.

- Remove and replace any damaged foil systems that cannot be repaired to the Owner’s and Architect’s satisfaction at no extra charge.

  - CLEANING

- Remove dust from surfaces, grooves and penetrations by vacuuming using only a soft bristle brush or compressed air. Remove general surface marks with a clean, soft, damp microfiber cloth. Do not use cleaning agents.

- Remove and replace any materials that cannot be cleaned to the Owner’s satisfaction at no additional charge.

  - DEMONSTRATION

- Demonstrate to the building owner or the owner’s representative the safe and proper method for removing and replacing all types of accessible foil systems.

- Supply the building owner or the owner’s representative with any special tools provided by the manufacturer required to unlatch safety hardware on accessible foil systems.

  - PROTECTION

A.	Upon completion of work, protect installed plastic surfaces from damage or soiling until the project’s substantial completion and owner occupancy.

END OF SECTION