SECTION 09830

LOW FREQUENCY SOUND ABSORBER (MODEX™ LF)

PART 1 GENERAL

  - SECTION INCLUDES

A.		Low Frequency Sound Absorber (Model Modex™  LF)

B.	Coordination with all trades having elements that are mounted adjacent to the devices of this section. There can be no penetrations through or other operable panels or systems concealed behind/above these devices.

  - RELATED SECTIONS

A.	Section 06400 – Architectural Woodwork

  - DEFINITIONS

A.	The Modex™  LF  shall offer absorption  from 63 to 315 Hz, utilizing an internally damped resonator panel.  The assembly shall be within a wood constructed cabinet and finished with a fabric covering.

  - SYSTEM DESCRIPTION

- Design Requirements: Surface or corner applied porous materials lose efficiency at low frequencies, because the particle velocity or air movement associated with these long wavelengths is low.  The Modex™ LF is pressure activated and is most effective in high pressure dihedral or trihedral surface locations. The system is able to achieve low and mid frequency absorption by converting pressure fluctuations into air motion.

- Performance Requirements:

1.	Random Incidence Sound Absorption Coefficients (a): Tested by independent, accredited, NVLAP facility according to ISO 354 for a type A mounting of the unit:

| Hz | 63 | 125 | 250 | 500 |  | 1000 |  | 2000 |  |  | 4000 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 0.34 | 0.98 | 0.27 | 0.09 |  | 0.09 |  | 0.04 |  |  | 0.08 |

  - SUBMITTALS

- Product Data: Submit standard manufacturer product cutsheet showing product, standard dimensions and selected options.

- Design Data / Test Reports: Submit sound absorption coefficients.

  - QUALITY ASSURANCE

- Flame Spread / Smoke Developed Characteristics: Product components tested individually by independent, accredited NVLAP facility according to ASTM E 84 and NFPA 255.

  - Composite Flame Spread Rating: 25 (maximum)

  - Smoke Developed: 450 (maximum)

  - DELIVERY STORAGE AND HANDLING

- Packing, Shipping, Handling and Unloading: Modex LF are susceptible to damage and shall be removed from packaging and handled with care.  Units shall be carried by a minimum of 2 people.  Units shall never be set down on finished fabric faces, only on backside.

- Storage and Protection: Store Modex LF in original packaging until ready to install.  Store Modex LF  in temperature and humidity controlled conditions for 24 hours prior to installation and protect from moisture and infestation.

- Acceptance at Site: Installation constitutes complete acceptance.

  - PROJECT CONDITIONS

- Project Environmental Requirements: Installation area shall be enclosed, protected from weather and be temperature and humidity controlled prior to unpacking and installing Modex LF.

PART 2 PRODUCTS

  - DISTRIBUTOR

A.	RPG Acoustical Systems, LLC, 99 South St, Passaic, NJ 07055 (telephone) 973-916-1166, http://www.rpgacoustic.com.

  - MATERIALS

- Unit Dimensions

Standard Units: Maximum Height (84”) x (42”) x (5-1/4”)

- Weight: 2 lbs per square foot

Standard Units: 22 kg (50 lbs)

- Fabric: Open weave, Class A, polyester, without backing layer such as pattern FR701-2100 by Guilford of Maine (Grand Rapids, MI). Color per architect selection.

PART 3 EXECUTION

  - INSTALLERS

A.	Only qualified installers with 3 years (minimum) experience installing similar products shall install diffusors.

  - EXAMINATION

A.	Site Verification of Conditions: Commencement of installation constitutes acceptance of prior work.

  - PREPARATION

- Protection: Protect surrounding work so as to avoid damage during installation of diffusors.

- Surface Preparation: Inspect substrate and ensure surface is flat, plumb, clean and dry without protruding elements that would otherwise interfere with installation.

  - INSTALLATION

- Field measure the inside height dimension of the unit and mark the wall to determine the location of the top and bottom mounting cleats.

- Attach the mounting cleats to the wall with the vertical section of the cleat below the horizontal leg, so that the unit can slide over and conceal the cleats.

  - CLEANING AND PROTECTION

A.	After installation, protect panels against dirt, water and contact that would puncture, snag, tear or otherwise damage panel fabric.

END OF SECTION